[image: image1.jpg]



[image: image2.jpg]IR A RRAS

Jong Maw Chemical Co., Ltd.






Ferrous Chloride (FeCl2)
( Specifications
	Ferrous chloride  (FeCl2)

	Name
	Specification

	
	FC2-40
	FC-33

	Appearance
	Yellow-Green Liquid
	Yellow-Green Liquid

	Severe (Be)
	-
	32 be

	Ferrous Chloride ％
	Greater than 40%
	Greater than 31.4%

	Free Acid ％
	Less than 0.3%
	Less than 0.3%


( Features
Various types of wastewater, electroplating, leather wastewater treatment efficiency significantly; of wastewater and sewage in the removal of various heavy metal ions close to 100%; processing and low cost. It is the production of iron salt, iron oxide red, mordant wet method, in particular, high-quality materials ideal for red iron oxide.
(Use

Ferric chloride and efficient production of basic raw materials used directly for sewage, wastewater treatment, wastewater treatment has a broad application. The production of iron salt, inorganic iron oxide pigments of the basic raw materials; catalyst for organic dyes, mordant textile industry; marble, granite, agate colorants. Used in metallurgy, electroplating, electro-brush plating, chemical industry and so on.
( Note the use of methods and Note：
1. As a sewage treatment agent: direct access to this product may also be diluted before use. Dilute the concentration of water quality and to be processed in accordance with Dosing adjustment device. Pharmaceutical dosage glass bottles should be based on the pilot confirmed that it would be preferable to dilution when the PH value to slightly acidic and neutral conditions in order to avoid hydrolysis of trivalent iron into.
2. The product of the neutral subalkalic better wastewater treatment, other uses should be based on the use of methods to confirm the use of conditions.
(Packaging
Liquid: tank car






譯瑪科技有限公司　Yiima Technology CO.,Ltd
71080　台南市永康區永華路307號No.307, Yonghua Rd., Yongkang Dist., Tainan City 710, Taiwan (R.O.C.)
Tel：(06)205-3146　Fax：(06)205-8562　E-mail：david2058996@gmail.com　http://www.ymchem.com

